# BONAFIDE CERTIFICATE

It is certified that this project III titled “UPGRADING OF WATER SUPPLY AND DISTRIBUTION SYSTEM OF NIRMALPOKHARI, BAGMARA, PUDI SANA SAHARI KHANEPANI” is the bonafide work of – Mr. Dipesh Bahadur Hamal, Mr. Hemanta Aryal, Mr. Krish Prasad Jaiswal, Mr. Prasanna Pahari, Mr. Saurav Giri, Mr. Sujan Lamichhane and Mr. Suyog Poudel who carried out the project work under my supervision. It is further certified that to the best of my knowledge the work reported herein doesn’t form part of any other thesis or dissertation or project on the basis of which a degree or award was conferred on an earlier occasion on this or any other candidate.

________________  					           _________________

Er. Sanjay Baral 					      Dr. Binay Kumar Mishra

Project Coordinator						  Project Supervisor

Lecturer   					                       Lecturer

School of Engineering 			                      School of Engineering

________________

Er. Santosh Khanal

Project Supervisor

Lecturer

School of Engineering

# ACKNOWLEDGEMENT

We would like to express our deep sense of gratitude to our project supervisor  Professor Dr. Binay Kumar Mishra and Er.Santosh Khanal of SOE, Faculty of Science and Technology, Pokhara University, Kaski for their continuous guidance and encouragement. It would have been impossible to accomplish this project without their valuable suggestion.

We would like to express deepest thanks to Director of School of Engineering Er. Om Prakash Giri, Er. Sanjay Baral, Project Co-ordinator and Program Coordinator of BCRE and Er. Saugat Tiwari, Program coordinator of Civil Engineering of Pokhara University for giving us this opportunity.

We are indebted with gratitude to Engineers and Staffs working in Sano Sahari Khanepani, who has been a constant support system from day one, providing us with secondary datas and safe working environment and access to our study area. We are very grateful for their guidance which led to the successful completion of the project.

Last but not least, we would like to thank to all our classmates, faculty members and locals who co-operated and helped us to carry out this project. We have no valuable words to express our gratitude, but our heart is full of the favors received from every person.

Dipesh Bahadur Hamal (2021-1-51-0057)

Hemanta Aryal (2021-1-51-0060)

Krish Prasad Jaiswal (2021-1-51-0065)

Prasanna Pahari (2021-1-51-0070)

Saurav Giri (2021-1-51-0083)

Sujan Lamichhane (2021-1-51-0087)

Suyog Poudel (2021-1-51-0091)

# ABSTRACT

This project focuses on the Upgrading of water supply and distribution system by Sano Sahari Khanepani serving the areas of Nirmalpokhari, Bagmara, and Pud. The aim is to fulfill the water demand of current and projected population demands, considering future growth and consumption trends. The design process includes site survey, demand analysis, supply calculation, design of suitable water treatment structure before distribution. After survey the existing roughing filter was not able to treat required amount of water in a day which became obstacle resulting insufficient supply of water. The water demand in the area was approximately 720cu.m per day but the roughing filter having dimension 20m*7m*1.2m having 4 chambers in total was only able to treat 460lpd which was clearly not sufficient. The people were forced to use other sources of water and sometimes they had to buy water. So to fulfill supply of remaining 260cu.m of water per day designing of new roughing filter was necessary. We designed the roughing filter with dimensions 9m*6m*1.2m which could filter about 310cu.m of water per day and 9m*5m*1.2m which could filter about 260cu.m of water per day. Among two alternative designs one will be considered ensuring efficiency, safety, and cost-effectiveness. This report provides technical details necessary for the implementation of a sustainable water treatment solution, contributing to meet the daily demand of water in Bagmara area.

Keywords: water supply, demand, distribution, Bagmara, roughing filter, treatment of water

# TABLE OF CONTENTS

BONAFIDE CERTIFICATE	I

ACKNOWLEDGEMENT	II

ABSTRACT	III

TABLE OF CONTENTS	IV

TABLE OF FIGURES	VI

LIST OF TABLE	VII

LIST OF ABBREVIATION	VIII

CHAPTER ONE	1

INTRODUCTION	1

1.1 Background	1

1.2 Components of Water Supply System	2

1.2.1. Source:	2

1.2.2. Intake structures	2

1.2.3. Collection Chamber:	3

1.2.4. Pumping Stations	3

1.2.5. Distribution Chamber:	4

1.2.6. Transmission Mains:	4

1.2.7. Interruption chamber [IC]:	5

1.2.8. Treatment Plants:	6

1.2.9. Storage Reservoirs:	7

1.2.10. Control Valves:	8

1.2.11. Valve Chamber:	8

1.2.12. Distribution Network:	9

1.2.13. Break Pressure Tank [BPT]	10

1.2.14. Public Stand Post:	10

1.3 Basic Principles of Water Supply Distribution System	11

1.4 Methods of water distribution	11

1.5 History of water supply and distribution in Nepal	11

1.6 Objectives	12

1.6.1 General Objective:	12

1.6.2 Specific Objectives:	13

1.7 Study Area	13

1.8 Limitations	15

CHAPTER TWO	1

LITERATURE REVIEW	1

CHAPTER 3	5

METHODOLOGY	5

3.1 Site Survey for Population Counting	6

3.2 Demand Calculation	6

3.3 Check for Supply	6

3.4 Report Writing	6

CHAPTER FOUR	7

RESULT AND DISCUSSION	7

CHAPTER 5	18

CONCLUSION	18

REFERENCES (Binnie, 2002)	19

# TABLE OF FIGURES

Figure 1 Typical flow diagram on essentials of water supply engineering	1

Figure 2 Components of water supply system	10

Figure 3 Satellite view of Water Supply Area	14

Figure 4 Treatment area of Water Supply	15

Figure 5 Flowchart of Methodology	5

Figure 6 Existing layout of Roughing Filter	9

Figure 7 Section at X-X of Roughing Filter	9

Figure 8 New Roughing Filter of 9m*6m*1.2m Design	13

Figure 9 Section at X-X of New Roughing Filter	13

Figure 10 New Roughing Filter of 9m*5m*1.2m Design	14

Figure 11 Section at X-X of New Roughing Filter	15

Figure 12 Existing Treatment Area	15

Figure 13 New Layout of treatment area with new Roughing filter of 9m*6m*1.2m	16

Figure 14 New Layout of treatment area with new Roughing filter of 9m*5m*1.2m	17

# LIST OF TABLE

Table 1 Discharge calculation through MIP system	2

Table 2 Discharge Calculation in River	8

Table 3 Water Availability Calculation throughout year by MIP method	8

# LIST OF ABBREVIATION

| Symbols and Abbreviations | Meaning |
| --- | --- |
| BCRE | - Bachelor of Civil and Rural Engineering |
| cu.m | - Cubic metre |
| lpd | - Litre per day |
| lpcd | - Litre per capita demand |
| m | - metre |
| PU | - Pokhara University |
| SOE | - School of Engineering |

# CHAPTER ONE

# INTRODUCTION

## 1.1 Background

A water distribution system is a part of a water supply network with components that carry

potable water from a centralized treatment plant or wells to consumers to satisfy

residential, commercial, industrial, and firefighting requirements. The purpose of the water

supply and distribution system is to deliver water to consumers with appropriate quality,

quantity, and pressure. A distribution system is used to describe collectively the facilities

used to supply water from the source to the point of usage. The sources from where water

can be supplied and distributed can be classified as surface water, rainwater, underground

water, and so on. In municipal water systems, water is withdrawn from the water source

and treated before it is pumped to our homes and businesses. After treatment, municipal

water systems distribute water to homes and businesses in large pipes called water mains

that are usually buried under our roads and sidewalks. With water supply and distribution

there obviously comes along a good distribution system. During water supply, the quality

of water shouldn’t deteriorate. The system also should be capable of supplying water at all

intended places with sufficient pressure heads. The water supply and distribution system

decide whether the availability of water in certain areas is sufficient good or not. The

distribution pipes are generally laid below the road pavements. This project is taken up as

people are still facing many problems to get the proper supply of water in our country even

in the main city areas. The water supply system deteriorates if it’s not planned or designed

properly beforehand thinking about the possible rate of population growth.

Figure 1 Typical flow diagram on essentials of water supply engineering

## 1.2 Components of Water Supply System

A water supply system consists of several key components that work together to provide potable water to consumers. These include the source of water, treatment facilities, storage reservoirs, and a distribution network. The detailed breakdown of components of water supply system is given below:

## 1.2.1. Source:

This is the initial location where water is obtained. It can be surface water (like rivers or lakes) or groundwater (from wells).

▪Surface Water: Rivers, lakes, and reservoirs are common surface water sources. These sources are often subject to pollution and require treatment.

▪Groundwater: Aquifers, underground layers of rock that hold water, are another vital source. Wells are used to extract groundwater.

▪Other Source: Rainwater harvesting and desalination (removing salt from seawater) can also be used, though they are less common in large-scale systems.

## 1.2.2. Intake structures

This structure is used to withdraw water from the source. An intake structure is a crucial component in a water supply system, acting as the interface between the water source and the conveyance system. It's designed to safely withdraw water while preventing debris, sediment, and other undesirable materials from entering the system. Key components include inlet screens, gates, valves, and sometimes sedimentation chambers, all working together to ensure a clean and reliable water supply.

Purpose

The primary function of an intake structure is to withdraw water from a source (river, lake, reservoir, etc.) and deliver it to the treatment plant or distribution network.

Key Components

▪ Inlet Screens/Trash Racks: These are designed to prevent large debris like logs, branches, and trash from entering the system.

▪ Gates and Valves: These control the flow of water into the system and can be used for maintenance purposes.

▪ Sedimentation Chambers: In some cases, sedimentation chambers are included to allow heavier particles to settle out before the water is further processed.

▪ Conveyance System: This refers to the pipes or channels that carry the water from the intake structure to the treatment plant.

Types of Intake Structures

▪ River Intakes: Often involve intake towers or submerged structures to access water from rivers, which can have varying water levels.

▪ Lake Intakes: Can be submerged structures or intake towers, depending on the depth and characteristics of the lake.

▪ Reservoir Intakes: Typically located near the dam or on the reservoir slopes, with access provided by footbridges or other means.

▪ Canal Intakes: Simple structures located on the bank of a canal.

## 1.2.3. Collection Chamber:

Water supplies may be drawn from a single source or several different ones. The collection chamber is built at or near the intake site to collect water from one or more sources. When the demand for water does not fulfill by a single source, multiple sources are tapped and it is provided so that it prevents the backflow of water from one source to another. The collection chamber also breaks pressure forming a new static pressure. CC also performs as segregation of heavier particles and floating materials from raw water. Inlet, outlet, overflow, washout mechanisms are kept in the chamber.

## 1.2.4. Pumping Stations

These facilities use pumps to move water from lower to higher elevations or over long distances, particularly when gravity is not sufficient. In water supply systems, pumps are crucial for lifting and transporting water from sources to distribution networks. They work by creating pressure differences that drive the water flow. Centrifugal pumps, which use rotating impellers, are common for their high flow rates and suitability for various fluids. Positive displacement pumps, known for constant flow rates, are used for high-pressure, low-flow applications.

Types of Pumps

▪ Centrifugal Pumps: These are widely used in water supply systems due to their ability to handle a wide range of flow rates and pressures. They work by accelerating water outwards from the center using a rotating impeller.

▪ Positive Displacement Pumps: These pumps deliver a fixed volume of water with each rotation or cycle, making them ideal for applications requiring precise flow control, even at high pressures.

Key Components and Function

▪ Impeller: The rotating component that imparts velocity and pressure to the water.

▪ Casing: The housing that contains the impeller and other pump parts, directing the water flow.

▪ Suction and Discharge: Suction pipes draw water into the pump, while discharge pipes carry the pressurized water to the distribution system.

▪ Valves: Control the flow and pressure of water within the system.

▪ Motors: Provide the mechanical energy to drive the pump.

## 1.2.5. Distribution Chamber:

To split the supply network into manageable sub-systems serving a lesser number of public tap stand-post, a distribution chamber should be provided. It also facilitates the division of flow in the distribution sub-systems. The respective flow in each sub-system will be carried by separate pipelines from each decentralized storage tank. From the hydraulic point of view, water can be distributed with reasonable accuracy by providing a distribution chamber. It breaks incoming water pressure into the atmospheric pressure forming a new static water level.

## 1.2.6. Transmission Mains:

These large pipes carry water from the source or treatment plant to storage reservoirs or directly to the distribution network. Transmission mains are a critical component of a water supply system, responsible for transporting large volumes of water, either raw or treated, from the source (like a reservoir or treatment plant) to the distribution network or storage facilities. They are the largest pipes in the system and are designed to handle high flow rates over considerable distances.

Purpose

▪ Conveying Water: Transmission mains act as the "highways" for water, moving it from the source (e.g., a river, well, or treatment plant) to areas where it will be used.

▪ Raw and Treated Water: They can carry either raw, untreated water to treatment facilities or treated water to storage reservoirs or directly into the distribution system.

▪ Connecting Key Points: They link the water source, treatment plants, and storage facilities, ensuring a continuous and reliable water supply.

Key Characteristics

▪ Large Diameter Pipes: Transmission mains are typically the largest pipes in the water supply system, capable of handling significant flow rates.

▪ Long Distances: They often span considerable distances, conveying water over considerable lengths.

▪ High Pressure: Depending on the system, they can operate under high pressure, especially when pumping water to elevated storage or long distances.

▪ Materials: Common materials include concrete, ductile iron, steel, and GRP/GRE pipes.

▪ No Distribution: Transmission mains are primarily for transport and do not distribute water directly to individual consumers.

Operations and Maintenance:

Optimal Utilization:

Operations and maintenance focus on ensuring the system operates efficiently, with minimal losses and at the lowest possible cost.

Monitoring and Control:

District Metering Areas (DMAs) can be used to monitor water usage and losses within the transmission system.

Regular Inspections:

Regular inspections and maintenance are crucial to identify and address potential issues like leaks, corrosion, or damage.

System Integrity:

Maintaining the physical, hydraulic, and water quality integrity of the transmission mains is essential for a reliable water supply.

## 1.2.7. Interruption chamber [IC]:

A chamber provided in the transmission main to break high pressure without a float valve is called Interruption Chamber. The function of these chamber is to release high pressure or convert into atmospheric pressure forming the new static water level. A float valve is provided in BPT whereas IC is without afloat, through the function of both is the same.

## 1.2.8. Treatment Plants:

Water treatment plants purify the water by removing contaminants, ensuring it meets safety standards for drinking. A water treatment plant is a crucial component of a water supply system, responsible for purifying raw water from various sources to make it safe for consumption. It employs a series of physical, chemical, and biological processes to remove impurities and contaminants. Key components include pretreatment, core treatment (filtration, sedimentation, etc.), and disinfection. Auxiliary equipment such as pumps, storage tanks, and control systems are also essential parts of the plant.

Key Components and Processes:

▪ Raw Water Source: This is where the water originates (e.g., river, lake, reservoir).

▪ Intake Structure: A mechanism to draw water from the source.

▪ Pre-treatment: This stage removes large debris and suspended solids. Processes may include      screening, coagulation, and flocculation.

▪ Coagulation: Chemicals (like alum) are added to destabilize suspended particles.

▪ Flocculation: Gentle mixing to clump the destabilized particles into larger, heavier flocs.

Sedimentation: The water flows into basins where heavier flocs settle to the bottom.

▪ Filtration: The water passes through layers of sand, gravel, or other media to remove remaining suspended solids and some microorganisms.

▪ Disinfection: A final step to kill any remaining harmful bacteria or viruses using chlorine, UV light, or other methods.

▪ Clear Water Reservoir: Treated water is stored here before distribution.

▪ Distribution System: Pipes, pumps, and other infrastructure that deliver the treated water to consumers.

▪ Sludge Handling: Systems to manage and dispose of the removed solids and sludge.

▪ Laboratory: Facilities for water quality testing and monitoring.

▪ SCADA System: Supervisory Control and Data Acquisition system for monitoring and controlling plant operations.

▪ Valves and Piping: Essential for controlling water flow throughout the plant.

▪ Chemical Storage and Dosing: For chemicals used in the treatment processes.

▪ Backwash System: For cleaning the filters.

▪ Power Supply: Essential for operating pumps, motors, and other equipment.

## 1.2.9. Storage Reservoirs:

These reservoirs, which can be elevated tanks or ground-level facilities, store treated water for later distribution. Storage reservoirs are crucial components of a water supply system, serving multiple purposes like balancing fluctuating water demand, providing emergency water, and maintaining water pressure. They can be categorized as either surface reservoirs (ground or non-elevated) or elevated reservoirs, each with specific design considerations. These reservoirs store treated water for domestic, industrial, and fire-fighting purposes, ensuring a reliable and consistent water supply.

Types of Storage Reservoirs

▪ Surface Reservoirs:

These are typically rectangular or circular and located at ground level. They can be supplied by gravity flow or pumping, with pumping minimized to reduce costs. They often have multiple compartments to allow for maintenance and cleaning while still maintaining supply.

▪ Elevated Reservoirs (Tanks/Towers):

These are constructed at higher elevations, often on hills or supported by towers, to provide sufficient water pressure in the distribution system. They can be made of steel, concrete, or other materials.

▪ Distribution Reservoirs:

These reservoirs hold treated water and are essential for equalizing demand fluctuations, maintaining pressure, and providing emergency storage. They typically include balancing storage, breakdown storage, and fire storage.

Functions of Storage Reservoirs

▪ Demand Equalization:

Reservoirs store water during periods of low demand and release it during peak demand, ensuring a consistent water supply.

▪ Emergency Storage:

They provide a reserve of water for fire fighting, equipment failures, or power outages, preventing interruptions to service.

▪ Pressure Maintenance:

Elevated reservoirs help maintain adequate water pressure in the distribution system, particularly in areas with high elevation or long distances.

▪ Fire Storage:

Reservoirs can be designed to provide a specific volume of water for firefighting purposes.

▪ System Relief Valve:

They can act as a relief valve on a system supplied by pumping, preventing pressure surges.

▪ Reduction in Main Size:

With adequate storage, the size of distribution mains can be reduced, leading to cost savings.

Key Considerations

▪ Capacity:

The storage capacity of a reservoir is determined by the demand patterns, fire flow requirements, and the need for emergency storage.

▪ Location:

The location of a reservoir is crucial for effective pressure management and access to the distribution system.

▪ Material and Construction:

The choice of materials and construction techniques will depend on the size, location, and purpose of the reservoir.

▪ Maintenance:

Regular cleaning and maintenance are necessary to ensure the quality and reliability of the stored water.

## 1.2.10. Control Valves:

These are essential appurtenances provided in the pipelines. There are various valves used for different purposes like to control and regulate the flow of water, pressure releasing valve, air relief valve, wash out valves etc.

## 1.2.11. Valve Chamber:

It is the chamber constructed to protect and prevent the valves that are used in the water supply project. Various valves eg. Inlet, outlet, airrelease valve, washout valve etc should be kept inside the chamber called the valve chamber. The valve chamber is provided with cover and must be avoided to fill with water.

## 1.2.12. Distribution Network:

This network consists of pipes of various sizes (distribution mains and service lines) that carry water from reservoirs to individual properties.

Pipeline Distribution Networks

Pipeline distribution networks are aimed at design of suitable routes for piping. It is very

important for proper water pressure, capital cost and operation and maintenance cost.

Different types of networks are adopted looking to the pressure requirement, operation and

maintenance (O&M) strategy adopted, cost parameter and overall length of distribution

system.

a. Dead end distribution system

In such system, sub main pipes are connected at right angles from main pipeline

and branch pipes are connected to sub mains at right angles. This system is easy to

lay. However, in case of failure in pipeline, it will be difficult to supply water to the

area ahead of affected area. Also pressure at the tail end will be low compared to

other area and there will be stagnation of water.

b. Grid Iron System

In such system; main, sub main and branch pipes are interconnected to each other. A grid

system is laid. Here, total length of pipeline required is high, but this helps in

equitable water pressure. Also, blockage of pipes in one area does not affect the

supply in the rest of area as there are multiple supply points to any area. This will

also help in avoiding water stagnation. The system required higher number of

valves.

c. Ring System

The whole system is enclosed by main pipeline in radial or rectangular shape. Smaller areas are enclosed by sub main pipeline. In case of failure of system, very small area will be affected. The area ahead of affected area can get water from other point. The system requires higher number of valves. Here water can be supplied to any point from two directions.

d. Radial System

The area is divided into different zones. The water is pumped into the distribution reservoir kept in the middle of each zone and the supply pipes are laid radially ending

towards the periphery.

## 1.2.13. Break Pressure Tank [BPT]

A small tank specifically built to break the hydrostatic pressure in the distribution line is known as break pressure tank. These are the tanks or a chamber provided in the rural water supply distribution system to overcome the failure by the burst of pipes due to excessive pressure. The function of the BPT is releasing high pressure into atmospheric pressure. Inlet, outlet, overflow, washout, float valve mechanisms are kept in BPT.

## 1.2.14. Public Stand Post:

Public stand post is the last component of the water supply system from where consumes collect water to fulfill their household demand in rural areas. As residents of rural areas cannot afford private connections and also due to scattered households in the area a stand post is provided to serve 7 to 10 households. The public stand post is the most frequently visited component so that it should be located at a public inviting place in sunny areas with the provision of proper drainage.

Figure 2 Components of water supply system

## 1.3 Basic Principles of Water Supply Distribution System

• The quality of water should not get deteriorated in the distribution pipes.

• The Supply system should be capable of supplying water at all the intentional places with

sufficient pressure heads.

• It should be capable of supplying the needful amount of water during fire–fighting.

• The pipe layout should be such that no consumer would be without a water supply, during

the repair of any section of the system.

• All the pipes in the distribution system should be preferably laid one meter away or above

the sewer lines.

• The system of pipes should be fairly watertight to keep losses due to leakage to a

minimum.

## 1.4 Methods of water distribution

For efficient distribution system adequate water pressure required at various parts

depending upon the level of source, topography of the area and other local conditions the

water may be forced into distribution system by different ways. Different methods of

distributions are given below:

• Gravity System

• Pumping System

• Combined System

## 1.5 History of water supply and distribution in Nepal

Water has always been an integral part of Nepal’s socio–cultural, religious, and economic fabric. Reflecting on Water Nepal: A Historical Perspective, how deeply embedded water management traditions are in the country’s history, stretching back centuries. In ancient times, during the Kirat, Lichhavi, and Malla periods, communities developed sophisticated and sustainable water systems such as stone spouts -dhunge dharas_, ponds, wells, and canals. These were not just engineering feats but also carried religious and social importance. Particularly during the Malla era, water infrastructure flourished, often funded and managed by kings, village leaders, and even commoners. Providing access to water was seen as an act of religious merit, and festivals like Sithi Nakha demonstrated the strong tradition of communal cleaning and maintenance of these sources. This strong community participation made water governance inclusive and culturally significant.

The Shah and Rana periods marked a shift toward centralized efforts and the beginnings of modern water infrastructure. The introduction of piped water systems by Bir Shumser in the late 19th century,. However, it was only after 1950, with the fall of the Rana regime and the advent of democratic governance, that Nepal embarked on formal, state–led development planning. The introduction of Five–Year Plans starting in 1956 brought structured development to the water sector, later complemented by Three–Year Interim Plans. The creation of the Department of Water Supply and Sewerage (DWSS) 1972 institutionalized national efforts, while international agencies such as UNICEF, ADB, JICA, and FINNIDA played critical roles in funding and technical support.

These planned efforts led to a significant increase in water supply and sanitation coverage, reaching 86% and 82% respectively by 2018. Water quality issues, such as arsenic contamination in the Terai and rural areas and bacterial pollution in urban supplies, continue to threaten public health. Functionality of systems is also a major concern, with surveys indicating that a large proportion of drinking water projects are only partially functional. Additionally, the absence of a centralized regulatory authority, insufficient technical capacity, and the impacts of climate change including drying springs and increased disaster risks pose serious threats to the sustainability of water resources.

Urbanization has brought its own complications, especially in areas like the Kathmandu Valley, where water demand has far exceeded supply. Projects like the Melamchi Water Supply Project were initiated to address chronic shortages, but delays and institutional weaknesses have hampered progress. The growing urban population and the rapid pace of infrastructure development require comprehensive water governance reforms, particularly in sanitation management, which still lags behind water supply in policy and implementation.

# 1.6 Objectives

## 1.6.1 General Objective:

The general aim of our project is to fulfill the water demand of the target area, overcoming the limitations of the existing water supply infrastructure.

## 1.6.2 Specific Objectives:

- To assess the current and projected water demand of the community based on population and consumption trends.

- To design a suitable water reservoir if availability of water is not sufficient in river to store the overflow in rainy season or to design suitable water treatment structure if it lacks sufficient treatment in a day.

- To ensure the designed system provides a reliable and sustainable solution for safe water distribution.

# 1.7 Study Area

The infrastructure development initiative in Pokhara Metropolitan City, specifically encompassing Wards 21,17 and 33, including Bagmara a major area for its supply, represents a collaborative endeavor between the Government of Nepal and the local municipal authorities. This project, designed in 2016 and completed in 2019, aims to address the pressing need for reliable water supply in the rapidly urbanizing regions of Pokhara.

The project was meticulously planned to serve houses of Wards 17,21,33. This aligns with the broader objectives of the Pokhara Water Supply Improvement Project, which was initiated in 2016 and officially handed over in 2019. The initiative was significantly supported by Asian Development Bank a grant of NPR 3.5 billion 70% from the Nepal Government, 25% loan from the Town Development Fund and 5% from the water user committee with construction executed by Tundi-Kankai-Mirtasanjibani J/V Kathmandu.

The study area of this project comprises the location within Pokhara Metropolitian-33,Bagmara that is currently experiencing an insufficient water supply due to the failure of an ongoing project to meet the required water demand. The existing infrastructure is either under-designed or lacks the capacity to fulfill the daily water requirements of the population. This area was selected based on its urgent need for a reliable and adequately designed water supply system. It represents a region where the demand for clean and safe water has been increasing due to population growth, but the existing infrastructure could not respond effectively.

Figure 3 Satellite view of Water Supply Area

Figure 4 Treatment area of Water Supply

# 1.8 Limitations

Some limitations of the study are:

▪ Population survey of all benefitted houses were not carried out.

▪ Past population records of the targeted was not known so future population was calculated only based on geometrical method.

▪ Availability of water is checked based on MIP system due to lack of data.

# CHAPTER TWO

# LITERATURE REVIEW

▪ (Nkwonta, 2009) For design of roughing filter the void ratio of aggregates has to be considered, which is the ratio of the volume of voids to the volume of solids, typically ranges from 30% to 45% for coarse aggregates and 40% to 50% for fine aggregates. These values can vary based on factors like aggregate shape, size, and packing. 40% can be considered for effective volume of water to be treated. And for horizontal flow filtration velocity ranges from (0.3 – 1.5m/hr) and 0.75m/hr is considered for effective filtration.

▪ (Maiyo, 2023) Safe drinking water remains a major global challenge, particularly in rural areas of developing countries, where 80% of people without improved water access live. Unsafe water leads to WASH-related diseases and economic burdens. Slow sand filters (SSFs), also known as biological sand filters (BSFs), offer an effective, low-cost water treatment solution for these low-resource settings. SSFs improve water quality by removing suspended particles, dissolved organics, and microbial contaminants, thus reducing turbidity, bad taste, and odor. This also enables the use of affordable disinfection methods like chlorination.

▪ (Verma, 2017) Slow sand filtration (SSF) is a low-cost, effective water treatment method operating at a flow rate of 0.1–0.4 m³/h. It efficiently removes pathogens like E. coli, Giardia, and viruses, as well as turbidity, suspended solids, and toxic metals. The paper reviews SSF design, performance, and future research needs.

▪ (Pokhrel, 1982) The MIP (Monthly Incremental Precipitation) method is a regional hydrological method used in Nepal for estimating monthly streamflow, particularly in ungauged catchments. It utilizes non-dimensional hydrographs, which are derived for different regions of Nepal (typically 7 regions), and a single dry weather flow measurement (often in April) to predict the monthly flow for a specific location.

| Month | Coefficients |
| --- | --- |
| January | 2.71 |
| February | 1.88 |
| March | 1.38 |
| April | 1 |
| May | 1.88 |
| June | 3.13 |
| July | 13.54 |
| August | 25 |
| September | 20.83 |
| October | 10.42 |
| November | 5 |
| December | 3.75 |

Table 1 Discharge calculation through MIP system

▪ (Punmia, 1995)Prior to the design of water supply scheme, it is necessary to forecast the future population of the community to be served. Population Forecasting can be done by following methods:

a. Arithmetical increase method

In this method it is assumed that the future increase in population is at a constant rate as the increase in population from decade to decade is assumed constant. This constant rate of increase in population in the future is taken as the average increase in population per decade during several past successive decades. This method gives lower values and is adopted for large cities to reach their maximum development (or already developed cities or old cities).

Pn = Po + nc

b. Geometrical increase Method

This method is based on the assumption that % increase in population per unit remains constant for each time and also known as uniform growth method. This method usually gives higher results as compared to arithmetical increase method. This method is suitable for a rapidly growing or young city.

Pn = Po(1+r%)^n

c. Incremental Increase method

This method is improvements over the two methods arithmetical and geometrical. From previous census data the actual increase, then the increment in an increase in each of those time units and the incremental increase per time unit “i” is calculated. The population in the next time unit is calculated by adding the present population the average increase 'c' plus the net incremental increase for that time units and so on.

The result given by this method is somewhere between the result given by

Pn=Po+nc+n((n+1)/2)i

▪ (Neupane, 2021) Water demand depends upon domestic demand, livestock demand, commercial demand, industrial demand. Moreover, it depends upon firefighting, losses and wastage.

It is higher in developed countries and lesser in developing countries.

a. Domestic demand

This includes water which is required for private residence for drinking, cooking, bathing, washing of clothes and others.

b. Livestock Demand

c. Commercial and Institutional Demand

d. Fire Demand

Generally, it should not be more than 1 lpcd.

# CHAPTER 3

Site Survey for Population Counting

Demand Calculation

Literature Review

Water availability check in river

Design of new treatment plant

Check for supply

Conclusion

Result And Discussion

Check for Distribution system

Water treatment volume check

Design of reservoir to store overflow water

Water treatment Sufficient

No

Yes

Yes

No

METHODOLOGY

Water availability Sufficient

Figure 5 Flowchart of Methodology

## 3.1 Site Survey for Population Counting

▪ We surveyed some of the houses benefitted by Khanepani to know the no of people living in a house and some data was collected from 33 no. ward office.

## 3.2 Demand Calculation

▪ By knowing the population from survey, future population was calculated using population forecasting methods.

▪ Then according to guidelines various water demands were calculated.

## 3.3 Check for Supply

▪ At first, we went to Fusre Khola (source) to calculate availability of water.

▪ We marked an area and calculated discharge for the section.

▪ Then we calculated yearly water availability through MIP system.

▪ Water availability was sufficient so we moved to check water treatment volume.

▪ There were two treatment plants; Roughing filter and Slow sand filter.

▪ We measured all dimensions of both treatment plants.

▪We found the problem in roughing filter.

▪ So we designed new roughing filter to meet the water demand.

## 3.4 Report Writing

After all the calculations we prepared a report including new roughing filter designs to meet the water demand.

# CHAPTER FOUR

# RESULT AND DISCUSSION

▪ During Survey, we got the population data in 33 ward no. from ward office to be 11670 living in 3150 houses. For more precise surveying 50 houses provided us 197 people living. From these calculations we got 4 people in average living in house.

▪ The number of houses benefitted by Khanepani was 1947 and 2 schools.

▪ Present population (Po)= 1947*4=7788

▪ For demand calculation, we firstly calculated the population of next 15 years,

By Geometric Increase Method

for n = 15years

On basis of Nepal population, rate of population is considered as 0.92%.

Pn= 8935

As our study area is considered as semi urban area we are considering daily demand as 65 lpcd

So domestic demand = popn* 65lpcd

=8935*65 litres per day=580775 litres per day

= 580.775cu.m per day

Being a semi urban area every house has some livestock ,

Livestock demand = 20% of domestic demand

= 20% *580775

= 116155 lpcd

Fire demand  = 1% * domestic

= 1% *580775

= 5807.75 lpcd

Institutional demand, 1 school consists of 1000 and another with 500 student

So institutional demand = 1500*10

= 15000 lpcd

Total demand = 717737.75 lpcd

Let’s consider daily demand as 720cu.m per day.

▪ For water availability check,

Firstly, we calculated discharge of river

| For Area of River |  |  |  |
| --- | --- | --- | --- |
| Depth (m) | Avg. Depth (m) | Length (m) | Area (sq.m) |
| 0.29 | 0.466636364 | 22.5 | 10.49931818 |
| 0.55 |  |  |  |
| 0.19 |  |  |  |
| 0.35 |  |  |  |
| 0.6 |  |  |  |
| 0.712 |  |  |  |
| 0.731 |  |  |  |
| 0.7 |  |  |  |
| 0.41 |  |  |  |
| 0.37 |  |  |  |
| 0.23 |  |  |  |
| For Velocity of river |  |  |  |
| Distance (m) | avg recorded time (s) | velocity (m/s) | Discharge (cu.m/s) |
| 12 | 7 | 1.714285714 | 17.99883117 |

Table 2 Discharge Calculation in River

▪ The discharge calculated was of June. Taking it reference discharge of other months were calculated using MIP system.

| Month | Coefficients | Discharge (cu.m/s) |
| --- | --- | --- |
| January | 2.71 | 15.58365255 |
| February | 1.88 | 10.81079955 |
| March | 1.38 | 7.935586905 |
| April | 1 | 5.750425294 |
| May | 1.88 | 10.81079955 |
| June | 3.13 | 17.99883117 |
| July | 13.54 | 77.86075847 |
| August | 25 | 143.7606323 |
| September | 20.83 | 119.7813589 |
| October | 10.42 | 59.91943156 |
| November | 5 | 28.75212647 |
| December | 3.75 | 21.56409485 |

Table 3 Water Availability Calculation throughout year by MIP method

▪ After discharge calculation we got to know that there is sufficient water supply in river.

▪Then heading to water treatment volume check.

Roughing Filter Capacity and Detention time Calculation

Figure 6 Existing layout of Roughing Filter

Figure 7 Section at X-X of Roughing Filter

Length (l) = 20m

Breadth (b) = 7m

Depth of water level (d) = 1.2m

Volume = l*b*d = 20*7*1.2 = 168 cu.m

Since roughing filter is filled with coarse and fine sand and gravel so assuming its void ratio of 40% then,

Effective volume of water in roughing filter = 0.4*168 = 67.2 cu.m

Again,

The flow of water is horizontal in roughing filter.

Assuming velocity of 0.75m/hr (0.3 – 1.5m/hr)

Then, Area of chamber = 7*1.2 = 8.4 sq.m

Qchamber = Area* velocity = 8.4*0.75 = 6.3 cu.m

Total 4 chambers provided so,

Qtotal = 4*6.3 = 25.2 cu.m/hr

Detention time = Effective volume/Qtotal = 67.2/25.2 = 2.667hr = 160 minutes

Slow sand filter capacity and detention time calculation

Fig: Existing layout of Slow Sand Filter

Length (l) = 12m

Breadth (b) = 12m

Two chambers are provided

The water from roughing filter is passed to slow sand filter.

So the volume of water in slow sand filter = 67.2 cu.m

Filtration velocity of slow sand filter ranges from 0.1 – 0.4 m/hr

Assuming Velocity as 0.23 m/hr

Then, Qunit = l*b* velocity = 12*12*0.24 = 34.56 cu.m/hr

Detention time = 67.2/34.56 = 1.94hr approximately equals to 2hr

Supply of water in 1 day at present

With 20lps discharge from intake it takes about 56 minutes to fill up 67.2 cu.m of water in roughing filter. And roughing filter takes about 160 minutes for treatment. But if we calculate properly it takes about 3.5 hr for 67.2 cu.m of water to be passed from intake to slow sand filter.

In a day of 24 hour only 67.2*(24/3.5) = 460 lpd of water can be treated and supplied to consumers which is less than required.

After the infrastructure check and volume check we found that having only one roughing filter is stopping water to be supplied to the users.

So to fulfill the remaining demand of 260cu.m per day of water design of new roughing filter is required.

Design of New Roughing Filter

Case I

Providing,

Length = 9m

Breadth = 6m

Depth of water level = 1.2m

Free board = 0.5m

Total volume = 64.8 cu.m

Taking 40% void ratio of aggregates,

Effective volume = 25.92 cu.m

The flow of water is horizontal in roughing filter.

Assuming velocity of 0.75m/hr,

Then, Area of chamber = 6*1.2 = 7.2 sq.m

Qchamber = Area* velocity = 7.2*0.75 = 5.4 cu.m

Providing 3 chambers each of 3m

Qtotal = 3*5.4 = 16.2 cu.m/hr

Detention time = Effective volume/Qtotal = 25.92/16.2 = 1.6hr = 96 minutes

For discharge of 25.92 cu.m of water with 20lps, it takes 22minutes. So, total time to treat 25.92 cu.m of water will take 96+22 = 118 minutes approximately equal to 2hr. In 24hr period of time 25.92*12 = 311.04 cu.m of water can be treated and supplied.

Figure 8 New Roughing Filter of 9m*6m*1.2m Design

Figure 9 Section at X-X of New Roughing Filter

Case II

Providing,

Length = 9m

Breadth = 5m

Depth of water level = 1.2m

Free board = 0.5m

Total volume = 54 cu.m

Taking 40% void ratio of aggregates,

Effective volume = 21.6 cu.m

The flow of water is horizontal in roughing filter.

Assuming velocity of 0.75m/hr,

Then, Area of chamber = 5*1.2 = 6 sq.m

Qchamber = Area* velocity = 6*0.75 = 4.5 cu.m

Providing 3 chambers each of 3m

Qtotal = 3*4.5 = 13.5 cu.m/hr

Detention time = Effective volume/Qtotal = 21.6/13.5 = 1.6hr = 96 minutes

For discharge of 21.6 cu.m of water with 20lps, it takes 18minutes. So, total time to treat 21.6 cu.m of water will take 96+18 = 114 minutes approximately equal to 2hr. In 24hr period of time 21.6*12 = 259.2 cu.m of water can be treated and supplied.

Figure 10 New Roughing Filter of 9m*5m*1.2m Design

Figure 11 Section at X-X of New Roughing Filter

Layout Design

Figure 12 Existing Treatment Area

Figure 13 New Layout of treatment area with new Roughing filter of 9m*6m*1.2m

Figure 14 New Layout of treatment area with new Roughing filter of 9m*5m*1.2m

Among two alternative design cases one will be considered ensuring efficiency, safety, and cost-effectiveness.

# CHAPTER 5

# CONCLUSION

The final report of “UPGRADING OF WATER SUPPLY AND DISTRIBUTION SYSTEM OF NIRMALPOKHARI, BAGMARA, PUDI SANA SAHARI KHANEPANI” concludes that the khanepani lacks sufficient treatment structure to meet the demand. The roughing is capable to treat 460lpd per day which is not sufficient to fulfill water demand in Bagmara area. So, addition of new roughing filter is necessary. We designed new roughing filter with 260cu.m capacity of water per day and 310 cu.m capacity of water per day. Among these two, one which is more suitable will be selected and designed. Nobody should be deprived of basic water demand. If there are any problem the authority should look after the problem.

# REFERENCES (Binnie, 2002)

Al-Baidhani, J. H. (2016). Treatment of water and wastewater by using roughing filter technology of local materials.

Binnie, C. M. (2002). Basic water treatment.

Ellis, K. a. (1985). Slow sand filtration. Critical Reviews in Environmental Science and Technology.

Folwell, A. P. (1917). Water-supply engineering. the designing and constructing of water-supply systems.

Maiyo, J. K. (2023). Slow sand filters for the 21st century. International journal of environmental research and public health.

Neupane, S. (2021). Water Supply Engineering (Environmental Engineering – I) .

Nkwonta, O. a. (2009). Roughing filter for water pre-treatment technology in developing countries: A review. International Journal of Physical Sciences.

Pokhrel, P. (1982). Simple Design of Hill Irrigation Projects in Nepal. Department of Irrigation, Nepal.

Punmia, B. C. (1995). Water supply engineering. Firewall Media.

Verma, S. A. (2017). Slow sand filtration for water and wastewater treatment. Environmental Technology Reviews.